## Slide 1: Challenges in Building a Reliable System of Tens of Thousands of Servers
Akamai Technologies
and
Carnegie Mellon University
Bruce Maggs

## Slide 2: Outline
Varieties of Failure
The Centralized Approach to Content Delivery
Akamai’s Approach
Design Principles and Engineering Methodology
Notes: Feel free to ask questions. Don’t take notes though! Bruce story from UM talk showing up on Motley Fool chat board—ban on talks for awhile—this is first since then.

## Slide 3: HTML Title Page for www.xyz.com with Embedded Objects
<html>
<head>
<title>Welcome to xyz.com!</title>
</head>
<body>
<img src=“
<img src=“
<h1>Welcome to our Web site!</h1>
<a href=“page2.html”>Click here to enter</a>
</body>
</html>
http://www.xyz.com/logos/logo.gif”>
http://www.xyz.com/jpgs/navbar1.jpg”>

## Slide 4: Downloading www.xyz.com - before Akamai
3
Content Provider’s Web Server
DNS
WWW.XYZ.COM
1
User enters www.xyz.com
Browser requests IP address for www.xyz.com
Browser requests embedded objects
Content provider’s web server returns HTML
10.10.123.8
2
Browser requests HTML
DNS returns IP address
4
7
6
Browser obtains IP addresses for hostnames listed in URLs of objects embedded on page
Content provider’s web server returns embedded objects
10.10.123.8
5
Notes: We’ll talk about how DNS cloud works in a bit—like 411 service.
Prepared usual type of slides and passed them on to marketing and they came back like this!
Thank Bruce and Danny for help with slides.
Show a mini html page both the one that contains the link that the user clicked on, and the page that we returned, along with embedded URLs.

## Slide 5: DNS Resolution
Browser’s Cache
1
OS
2
Local Name
Server
3
.com .net
Root (InterNIC)
4
xyz.com
DNS Servers
6
5
7
8
9
10
TTL: 1 Day
TTL: 30 Minutes
Notes: Trying to get IP address for www.xyz.com. First go to internic to get xyz.com address.
Explain caching with TTLs. Many people share local nameserver.

## Slide 6: Differences for Streaming
Player rather than browser
Streaming server rather than web server
Feed from live event must be distributed to server
Sufficient bandwidth must be consistently available
Notes: Mention variety of formats.

## Slide 7: Problems with the Centralized Approach
Slow
  content must traverse multiple backbones and long distances
Unreliable
  delivery may be prevented by congestion or backbone peering problems
Not scalable
  usage limited by bandwidth available at master site
Inferior streaming quality
  packet loss, congestion, and narrow pipes degrade stream quality
Notes: Flash crowds

## Slide 8: Akamai’s Approach
Monitors the Internet and routes around trouble spots
Distributes all forms of content and supports applications
Provides feedback on hit counts to content providers

## Slide 9: Downloading www.xyz.com - The Akamai way
6
3
Content Provider’s Web Server
User enters www.xyz.com
Browser requests IP address for www.xyz.com
Browser obtains objects from optimal Akamai server
Content provider’s web server returns page with Akamaized URLs
Browser requests HTML
DNS returns IP address
4
Browser obtains IP address of optimal Akamai server for embedded objects
WWW.XYZ.COM
1
DNS
2
5
Notes: Same as before but most content is local! Transparent to end-user.

## Slide 10: Content Delivery Using Akamai
<html>
<head>
<title>Welcome to xyz.com!</title>
</head>
<body>
<img src=“
<img src=“
<h1>Welcome to our Web site!</h1>
<a href=“page2.html”>Click here to enter</a>
</body>
</html>
http://www.xyz.com/logos/logo.gif”>
http://www.xyz.com/jpgs/navbar1.jpg”>
Embedded URLs are Converted to ARLs
ak
Notes: Very simple process.

## Slide 11: Typical Page Content
Page Served by Akamai
78%
Total page 87,550 bytes Total Akamai Served 68,756 bytes
Navigation Bar 9,674 bytes
Banner Ads 16,174 bytes
Logos 3,395 bytes
Gif links 22,395 bytes
Fresh Content 17,118 bytes
Notes: Walk though each arrow/component of the web site...
Look at how much can be off-loaded by the Akamai network. We’ll take all of your rich content - make it faster and more efficient

## Slide 12: Akamai DNS Resolution
End User
Akamai High-Level DNS Servers
10
g.akamai.net
1
Browser’s Cache
OS
2
Local Name Server
3
xyz.com’s nameserver
6
ak.xyz.com
7
a212.g.akamai.net
9
15.15.125.6
16
15
11
20.20.123.55
Akamai Low-Level DNS Servers
12
a212.g.akamai.net
30.30.123.5
13
14
4
xyz.com
.com .net
Root (InterNIC)
10.10.123.5
5
akamai.net
8
select cluster
select servers within cluster
Notes: One of many ways—don’t have to do cname but it is easy. Note that usually address is already in local name server and you don’t do all these steps.

## Slide 13: DNS Maps & Time-To-Live
Root
HLDNS
LLDNS
1 day
30 min.
30 sec.
Time To Live
TTL of DNS responses gets shorter further down the hierarchy
Map creation is based on measurements of:
  Internet congestion
  System loads
  User demands
  Server status
Maps are constantly recalculated:
  Every few minutes for HLDNS
  Every few seconds for LLDNS

## Slide 14: Akamai Cluster
Servers pool resources
RAM
Disk
Throughput

## Slide 15: Varieties of Failure
Network
Hardware
Software
Misperceptions
Attacks

## Slide 16: Network Deployment
Current Installations
10000+ Servers
500+ Networks
55+ Countries
Notes: And we have the largest distributed network in the world -- we have deployed well over 3000 servers in more than 160 leading carriers in more than 45 countries.

## Slide 17: Network Failures
Congestion at public and private peering points
Misconfigured routers and switches
Inaccessible networks

## Slide 18: Delivery of Live Streams
Encoding
Top-level reflectors
Entry Point
Regions
1 2 3 4
1 2 3 4
1 2 3 4
1 2 3 4
1 2 3 4
x
X X X X
x
Satellite
Uplink
Satellite
Downlink
Notes: Explain encoding and info dispersal.

## Slide 19: Hardware / Server Failures
Linux boxes with large RAM and disk capacity, Windows 2000 servers
Sample Failures:
Memory SIMMS jumping out of their sockets
Network cards screwed down but not in slot
Switches configured to drop broadcasts

## Slide 20: Software failures
Third-party software
MTU adjustment problem in Linux 2.0.38 kernel
“Maggs Syndrome”
Bind 4.8
Problems with streaming clients/servers
Our software: bugs vs. features
Feature: reaction to MTU problem
Bugs: not allowed to say!

## Slide 21: eBroadcast
Other Features:
Ask a Question
Live Audience Phone-in
Viewer Registration
E-mail promotion
Download Slides
Searchable Content
Speaker Support e.g., PowerPoint
Indexed Program Schedule
Live or On-Demand Streaming Video
Dynamic Surveys & Profiling
No special client software

## Slide 22: Perceived Failures
Examples
Personal firewalls
Reporting tools
Customer-side problems
Third-party measurements

## Slide 23: Historical Reporting
Traffic Reporter:
For viewing of historical logs
Customized data-mining of customer traffic
Notes: Super bowl story

## Slide 24: Real-Time Reporting and Analysis
Traffic Analyzer:
Real-time viewing of customer traffic
Reports geographic distribution of traffic
Notes: Super bowl story

## Slide 25: Keynote Results
Web Site Performance
Typical Improvement with Akamai
Noon May 15
Noon May 16
Noon May 17
Noon May 18
Noon May 19
Noon May 20
Noon May 21
Noon May 22
Noon May 23
Noon May 24
Noon May 25
Noon May 26
Noon May 27
Web object delivered by Akamai
Web object delivered without Akamai
Notes: Explain keynote. Explain graph. Explain spikes.

## Slide 26: Attacks
Common question:
Aren’t you worried about hackers taking down your system?
Answer:
I’m more worried about the hackers who work for Akamai!

## Slide 27: Engineering Methodology
C programming language (gcc).
Reliance on open-source code.
Automated unit and system builds and tests.
Staged rollout to production.
Independent release management.
Burn-in on “invisible” system.

## Slide 28: Design Principles
No single point of failure.
Minimal human intervention.
Decentralized organization.
Fail-over at multiple scales, redundancy.
Sophisticated algorithms.
Multiple, disjoint, reporting systems.
Backwards compatibility.
Secure and authenticated communications.

## Slide 30: Company Origins and Overview
Research began at MIT in 1995
Company founded in August 1998
12 Offices Worldwide
1200 Employees
325+ R&D with 55+ PhDs

## Slide 31: Akamai R & D Has Some Familiar Faces
Cemil Azizoglu
Sandeep Bhatt
Bobby Blumofe
Fan Chung
Peter Danzig
Mingdong Feng
Michel Goemans
Ron Graham
Silvina Hanono
Chris Joerg
Vinay Kanitkar
David Karger
…and we are still hiring:
bmm@akamai.com
Danny Kleitman
Bradley Kuszmaul
Tom Leighton
Charles Leiserson
Matt Levine
Danny Lewin
Susan Luperfoy
Bruce Maggs
Gary Miller
Margaret-Reid Miller
Mike Mitzenmacher
Chuck Neerdaels
Greg Plaxton
Rajmohan Rajaraman
Satish Rao
Yatin Saraiya
Alex Sherman
Ramesh Sitaraman
Dan Spielman
Ravi Sundaram
Shang-Hua Teng
Srikanth Thirumali
Joel Wein
Bill Wiehl
Neal Young
Notes: Still hiring.

## Slide 32: Over 1300 Web Sites are Now Akamaized
Notes: Most of the major web sites are now akamaized. We’re one of the largest users of BW on internet today, if not the largest—and growing rapidly. And we’re making these sites faster for everyone. Really does handle flash crowds and really does make order of magnitude faster. What makes us most happy after all the hard work—goal was to have a positive impact with algorithms and we are doing that.

## Slide 33: Akamai Accelerated Networks for Universities
Akamai will place servers in your university to serve your users -- at no cost.
To Join Contact:
Kirsten Fitzgerald
617.250.4635
kirstenf@akamai.com
Notes: Explain benefits:
Improved internet performance for university users
Decreased network bandwidth charges